## Business Context

Renewable energy sources play an increasingly important role in the global energy mix, as the effort to reduce the environmental impact of energy production increases.

Out of all the renewable energy alternatives, wind energy is one of the most developed technologies worldwide. The U.S Department of Energy has put together a guide to achieving operational efficiency using predictive maintenance practices.

Predictive maintenance uses sensor information and analysis methods to measure and predict degradation and future component capability. The idea behind predictive maintenance is that failure patterns are predictable and if component failure can be predicted accurately and the component is replaced before it fails, the costs of operation and maintenance will be much lower.

The sensors fitted across different machines involved in the process of energy generation collect data related to various environmental factors (temperature, humidity, wind speed, etc.) and additional features related to various parts of the wind turbine (gearbox, tower, blades, break, etc.).

## Objective

“ReneWind” is a company working on improving the machinery/processes involved in the production of wind energy using machine learning and has collected data of generator failure of wind turbines using sensors. They have shared a ciphered version of the data, as the data collected through sensors is confidential (the type of data collected varies with companies). Data has 40 predictors, 20000 observations in the training set and 5000 in the test set.

The objective is to build various classification models, tune them, and find the best one that will help identify failures so that the generators could be repaired before failing/breaking to reduce the overall maintenance cost. The nature of predictions made by the classification model will translate as follows:

- True positives (TP) are failures correctly predicted by the model. These will result in repairing costs.

- False negatives (FN) are real failures where there is no detection by the model. These will result in replacement costs.

- False positives (FP) are detections where there is no failure. These will result in inspection costs. It is given that the cost of repairing a generator is much less than the cost of replacing it, and the cost of inspection is less than the cost of repair.

“1” in the target variables should be considered as “failure” and “0” represents “No failure”.

## Data Description

- The data provided is a transformed version of original data which was collected using sensors.

- Train.csv - To be used for training and tuning of models.

- Test.csv - To be used only for testing the performance of the final best model.

- Both the datasets consist of 40 predictor variables and 1 target variable

# Data manipulation and analysis libraries
import pandas as pd
import numpy as np

# Data visualization libraries
import matplotlib.pyplot as plt
import seaborn as sns

# Preprocessing and model evaluation libraries
from sklearn import metrics
from sklearn.preprocessing import StandardScaler, MinMaxScaler, OneHotEncoder
from sklearn.impute import SimpleImputer
from sklearn.metrics import (
    f1_score, accuracy_score, recall_score, precision_score,
    confusion_matrix, roc_auc_score
)
from sklearn.model_selection import (
    train_test_split, StratifiedKFold, cross_val_score, RandomizedSearchCV, GridSearchCV
)

# Sampling libraries
from imblearn.over_sampling import SMOTE
from imblearn.under_sampling import RandomUnderSampler

# Pipeline and transformation libraries
from sklearn.pipeline import Pipeline
from sklearn.impute import SimpleImputer
from sklearn.compose import ColumnTransformer

# Model building libraries
from sklearn.linear_model import LogisticRegression
from sklearn.tree import DecisionTreeClassifier
from sklearn.ensemble import (
    AdaBoostClassifier, GradientBoostingClassifier, RandomForestClassifier, BaggingClassifier
)
from xgboost import XGBClassifier

# Settings to enhance output readability and suppress warnings
pd.set_option("display.max_columns", None)
pd.set_option("display.max_rows", None)
pd.set_option("display.float_format", lambda x: "%.3f" % x)  # Suppress scientific notations in pandas

# Suppress warnings
import warnings
warnings.filterwarnings("ignore")

train_data = pd.read_csv('./Train.csv')
test_data = pd.read_csv('./Test.csv')

# Data Overview

# View top 5 rows of the data
train_data.head()

V1     V2     V3     V4     V5     V6     V7     V8     V9    V10  \
0 -4.465 -4.679  3.102  0.506 -0.221 -2.033 -2.911  0.051 -1.522  3.762   
1  3.366  3.653  0.910 -1.368  0.332  2.359  0.733 -4.332  0.566 -0.101   
2 -3.832 -5.824  0.634 -2.419 -1.774  1.017 -2.099 -3.173 -2.082  5.393   
3  1.618  1.888  7.046 -1.147  0.083 -1.530  0.207 -2.494  0.345  2.119   
4 -0.111  3.872 -3.758 -2.983  3.793  0.545  0.205  4.849 -1.855 -6.220   

     V11    V12    V13    V14    V15    V16    V17    V18    V19    V20  \
0 -5.715  0.736  0.981  1.418 -3.376 -3.047  0.306  2.914  2.270  4.395   
1  1.914 -0.951 -1.255 -2.707  0.193 -4.769 -2.205  0.908  0.757 -5.834   
2 -0.771  1.107  1.144  0.943 -3.164 -4.248 -4.039  3.689  3.311  1.059   
3 -3.053  0.460  2.705 -0.636 -0.454 -3.174 -3.404 -1.282  1.582 -1.952   
4  1.998  4.724  0.709 -1.989 -2.633  4.184  2.245  3.734 -6.313 -5.380   

     V21    V22    V23    V24    V25    V26    V27    V28    V29    V30  \
0 -2.388  0.646 -1.191  3.133  0.665 -2.511 -0.037  0.726 -3.982 -1.073   
1 -3.065  1.597 -1.757  1.766 -0.267  3.625  1.500 -0.586  0.783 -0.201   
2 -2.143  1.650 -1.661  1.680 -0.451 -4.551  3.739  1.134 -2.034  0.841   
3 -3.517 -1.206 -5.628 -1.818  2.124  5.295  4.748 -2.309 -3.963 -6.029   
4 -0.887  2.062  9.446  4.490 -3.945  4.582 -8.780 -3.383  5.107  6.788   

     V31    V32    V33     V34   V35    V36    V37    V38    V39    V40  \
0  1.667  3.060 -1.690   2.846 2.235  6.667  0.444 -2.369  2.951 -3.480   
1  0.025 -1.795  3.033  -2.468 1.895 -2.298 -1.731  5.909 -0.386  0.616   
2 -1.600 -0.257  0.804   4.086 2.292  5.361  0.352  2.940  3.839 -4.309   
3  4.949 -3.584 -2.577   1.364 0.623  5.550 -1.527  0.139  3.101 -1.277   
4  2.044  8.266  6.629 -10.069 1.223 -3.230  1.687 -2.164 -3.645  6.510   

   Target  
0       0  
1       0  
2       0  
3       0  
4       0

# View top 5 rows of the data
test_data.head()

V1     V2     V3     V4     V5     V6     V7     V8     V9    V10  \
0 -0.613 -3.820  2.202  1.300 -1.185 -4.496 -1.836  4.723  1.206 -0.342   
1  0.390 -0.512  0.527 -2.577 -1.017  2.235 -0.441 -4.406 -0.333  1.967   
2 -0.875 -0.641  4.084 -1.590  0.526 -1.958 -0.695  1.347 -1.732  0.466   
3  0.238  1.459  4.015  2.534  1.197 -3.117 -0.924  0.269  1.322  0.702   
4  5.828  2.768 -1.235  2.809 -1.642 -1.407  0.569  0.965  1.918 -2.775   

     V11    V12    V13    V14    V15    V16    V17    V18    V19    V20  \
0 -5.123  1.017  4.819  3.269 -2.984  1.387  2.032 -0.512 -1.023  7.339   
1  1.797  0.410  0.638 -1.390 -1.883 -5.018 -3.827  2.418  1.762 -3.242   
2 -4.928  3.565 -0.449 -0.656 -0.167 -1.630  2.292  2.396  0.601  1.794   
3 -5.578 -0.851  2.591  0.767 -2.391 -2.342  0.572 -0.934  0.509  1.211   
4 -0.530  1.375 -0.651 -1.679 -0.379 -4.443  3.894 -0.608  2.945  0.367   

     V21   V22    V23    V24    V25    V26    V27    V28    V29    V30    V31  \
0 -2.242 0.155  2.054 -2.772  1.851 -1.789 -0.277 -1.255 -3.833 -1.505  1.587   
1 -3.193 1.857 -1.708  0.633 -0.588  0.084  3.014 -0.182  0.224  0.865 -1.782   
2 -2.120 0.482 -0.841  1.790  1.874  0.364 -0.169 -0.484 -2.119 -2.157  2.907   
3 -3.260 0.105 -0.659  1.498  1.100  4.143 -0.248 -1.137 -5.356 -4.546  3.809   
4 -5.789 4.598  4.450  3.225  0.397  0.248 -2.362  1.079 -0.473  2.243 -3.591   

     V32    V33    V34   V35    V36    V37     V38    V39    V40  Target  
0  2.291 -5.411  0.870 0.574  4.157  1.428 -10.511  0.455 -1.448       0  
1 -2.475  2.494  0.315 2.059  0.684 -0.485   5.128  1.721 -1.488       0  
2 -1.319 -2.997  0.460 0.620  5.632  1.324  -1.752  1.808  1.676       0  
3  3.518 -3.074 -0.284 0.955  3.029 -1.367  -3.412  0.906 -2.451       0  
4  1.774 -1.502 -2.227 4.777 -6.560 -0.806  -0.276 -3.858 -0.538       0

# Check the dimensions of the data
train_data.shape

(20000, 41)

# Check the dimensions of the data
test_data.shape

(5000, 41)

# Check data types
train_data.info()

<class 'pandas.core.frame.DataFrame'>
RangeIndex: 20000 entries, 0 to 19999
Data columns (total 41 columns):
 #   Column  Non-Null Count  Dtype  
---  ------  --------------  -----  
 0   V1      19982 non-null  float64
 1   V2      19982 non-null  float64
 2   V3      20000 non-null  float64
 3   V4      20000 non-null  float64
 4   V5      20000 non-null  float64
 5   V6      20000 non-null  float64
 6   V7      20000 non-null  float64
 7   V8      20000 non-null  float64
 8   V9      20000 non-null  float64
 9   V10     20000 non-null  float64
 10  V11     20000 non-null  float64
 11  V12     20000 non-null  float64
 12  V13     20000 non-null  float64
 13  V14     20000 non-null  float64
 14  V15     20000 non-null  float64
 15  V16     20000 non-null  float64
 16  V17     20000 non-null  float64
 17  V18     20000 non-null  float64
 18  V19     20000 non-null  float64
 19  V20     20000 non-null  float64
 20  V21     20000 non-null  float64
 21  V22     20000 non-null  float64
 22  V23     20000 non-null  float64
 23  V24     20000 non-null  float64
 24  V25     20000 non-null  float64
 25  V26     20000 non-null  float64
 26  V27     20000 non-null  float64
 27  V28     20000 non-null  float64
 28  V29     20000 non-null  float64
 29  V30     20000 non-null  float64
 30  V31     20000 non-null  float64
 31  V32     20000 non-null  float64
 32  V33     20000 non-null  float64
 33  V34     20000 non-null  float64
 34  V35     20000 non-null  float64
 35  V36     20000 non-null  float64
 36  V37     20000 non-null  float64
 37  V38     20000 non-null  float64
 38  V39     20000 non-null  float64
 39  V40     20000 non-null  float64
 40  Target  20000 non-null  int64  
dtypes: float64(40), int64(1)
memory usage: 6.3 MB

# Check data types
test_data.info()

<class 'pandas.core.frame.DataFrame'>
RangeIndex: 5000 entries, 0 to 4999
Data columns (total 41 columns):
 #   Column  Non-Null Count  Dtype  
---  ------  --------------  -----  
 0   V1      4995 non-null   float64
 1   V2      4994 non-null   float64
 2   V3      5000 non-null   float64
 3   V4      5000 non-null   float64
 4   V5      5000 non-null   float64
 5   V6      5000 non-null   float64
 6   V7      5000 non-null   float64
 7   V8      5000 non-null   float64
 8   V9      5000 non-null   float64
 9   V10     5000 non-null   float64
 10  V11     5000 non-null   float64
 11  V12     5000 non-null   float64
 12  V13     5000 non-null   float64
 13  V14     5000 non-null   float64
 14  V15     5000 non-null   float64
 15  V16     5000 non-null   float64
 16  V17     5000 non-null   float64
 17  V18     5000 non-null   float64
 18  V19     5000 non-null   float64
 19  V20     5000 non-null   float64
 20  V21     5000 non-null   float64
 21  V22     5000 non-null   float64
 22  V23     5000 non-null   float64
 23  V24     5000 non-null   float64
 24  V25     5000 non-null   float64
 25  V26     5000 non-null   float64
 26  V27     5000 non-null   float64
 27  V28     5000 non-null   float64
 28  V29     5000 non-null   float64
 29  V30     5000 non-null   float64
 30  V31     5000 non-null   float64
 31  V32     5000 non-null   float64
 32  V33     5000 non-null   float64
 33  V34     5000 non-null   float64
 34  V35     5000 non-null   float64
 35  V36     5000 non-null   float64
 36  V37     5000 non-null   float64
 37  V38     5000 non-null   float64
 38  V39     5000 non-null   float64
 39  V40     5000 non-null   float64
 40  Target  5000 non-null   int64  
dtypes: float64(40), int64(1)
memory usage: 1.6 MB

# Double check for null values per column
train_data.isnull().sum()

V1        18
V2        18
V3         0
V4         0
V5         0
V6         0
V7         0
V8         0
V9         0
V10        0
V11        0
V12        0
V13        0
V14        0
V15        0
V16        0
V17        0
V18        0
V19        0
V20        0
V21        0
V22        0
V23        0
V24        0
V25        0
V26        0
V27        0
V28        0
V29        0
V30        0
V31        0
V32        0
V33        0
V34        0
V35        0
V36        0
V37        0
V38        0
V39        0
V40        0
Target     0
dtype: int64

# Checking for null values per column
test_data.isnull().sum()

V1        5
V2        6
V3        0
V4        0
V5        0
V6        0
V7        0
V8        0
V9        0
V10       0
V11       0
V12       0
V13       0
V14       0
V15       0
V16       0
V17       0
V18       0
V19       0
V20       0
V21       0
V22       0
V23       0
V24       0
V25       0
V26       0
V27       0
V28       0
V29       0
V30       0
V31       0
V32       0
V33       0
V34       0
V35       0
V36       0
V37       0
V38       0
V39       0
V40       0
Target    0
dtype: int64

# Check data duplicate values
train_data.duplicated().sum()

np.int64(0)

# Check data duplicate values
test_data.duplicated().sum()

np.int64(0)

train_data.describe().T

count   mean   std     min    25%    50%    75%    max
V1     19982.000 -0.272 3.442 -11.876 -2.737 -0.748  1.840 15.493
V2     19982.000  0.440 3.151 -12.320 -1.641  0.472  2.544 13.089
V3     20000.000  2.485 3.389 -10.708  0.207  2.256  4.566 17.091
V4     20000.000 -0.083 3.432 -15.082 -2.348 -0.135  2.131 13.236
V5     20000.000 -0.054 2.105  -8.603 -1.536 -0.102  1.340  8.134
V6     20000.000 -0.995 2.041 -10.227 -2.347 -1.001  0.380  6.976
V7     20000.000 -0.879 1.762  -7.950 -2.031 -0.917  0.224  8.006
V8     20000.000 -0.548 3.296 -15.658 -2.643 -0.389  1.723 11.679
V9     20000.000 -0.017 2.161  -8.596 -1.495 -0.068  1.409  8.138
V10    20000.000 -0.013 2.193  -9.854 -1.411  0.101  1.477  8.108
V11    20000.000 -1.895 3.124 -14.832 -3.922 -1.921  0.119 11.826
V12    20000.000  1.605 2.930 -12.948 -0.397  1.508  3.571 15.081
V13    20000.000  1.580 2.875 -13.228 -0.224  1.637  3.460 15.420
V14    20000.000 -0.951 1.790  -7.739 -2.171 -0.957  0.271  5.671
V15    20000.000 -2.415 3.355 -16.417 -4.415 -2.383 -0.359 12.246
V16    20000.000 -2.925 4.222 -20.374 -5.634 -2.683 -0.095 13.583
V17    20000.000 -0.134 3.345 -14.091 -2.216 -0.015  2.069 16.756
V18    20000.000  1.189 2.592 -11.644 -0.404  0.883  2.572 13.180
V19    20000.000  1.182 3.397 -13.492 -1.050  1.279  3.493 13.238
V20    20000.000  0.024 3.669 -13.923 -2.433  0.033  2.512 16.052
V21    20000.000 -3.611 3.568 -17.956 -5.930 -3.533 -1.266 13.840
V22    20000.000  0.952 1.652 -10.122 -0.118  0.975  2.026  7.410
V23    20000.000 -0.366 4.032 -14.866 -3.099 -0.262  2.452 14.459
V24    20000.000  1.134 3.912 -16.387 -1.468  0.969  3.546 17.163
V25    20000.000 -0.002 2.017  -8.228 -1.365  0.025  1.397  8.223
V26    20000.000  1.874 3.435 -11.834 -0.338  1.951  4.130 16.836
V27    20000.000 -0.612 4.369 -14.905 -3.652 -0.885  2.189 17.560
V28    20000.000 -0.883 1.918  -9.269 -2.171 -0.891  0.376  6.528
V29    20000.000 -0.986 2.684 -12.579 -2.787 -1.176  0.630 10.722
V30    20000.000 -0.016 3.005 -14.796 -1.867  0.184  2.036 12.506
V31    20000.000  0.487 3.461 -13.723 -1.818  0.490  2.731 17.255
V32    20000.000  0.304 5.500 -19.877 -3.420  0.052  3.762 23.633
V33    20000.000  0.050 3.575 -16.898 -2.243 -0.066  2.255 16.692
V34    20000.000 -0.463 3.184 -17.985 -2.137 -0.255  1.437 14.358
V35    20000.000  2.230 2.937 -15.350  0.336  2.099  4.064 15.291
V36    20000.000  1.515 3.801 -14.833 -0.944  1.567  3.984 19.330
V37    20000.000  0.011 1.788  -5.478 -1.256 -0.128  1.176  7.467
V38    20000.000 -0.344 3.948 -17.375 -2.988 -0.317  2.279 15.290
V39    20000.000  0.891 1.753  -6.439 -0.272  0.919  2.058  7.760
V40    20000.000 -0.876 3.012 -11.024 -2.940 -0.921  1.120 10.654
Target 20000.000  0.056 0.229   0.000  0.000  0.000  0.000  1.000

test_data.describe().T

count   mean   std     min    25%    50%    75%    max
V1     4995.000 -0.278 3.466 -12.382 -2.744 -0.765  1.831 13.504
V2     4994.000  0.398 3.140 -10.716 -1.649  0.427  2.444 14.079
V3     5000.000  2.552 3.327  -9.238  0.315  2.260  4.587 15.315
V4     5000.000 -0.049 3.414 -14.682 -2.293 -0.146  2.166 12.140
V5     5000.000 -0.080 2.111  -7.712 -1.615 -0.132  1.341  7.673
V6     5000.000 -1.042 2.005  -8.924 -2.369 -1.049  0.308  5.068
V7     5000.000 -0.908 1.769  -8.124 -2.054 -0.940  0.212  7.616
V8     5000.000 -0.575 3.332 -12.253 -2.642 -0.358  1.713 10.415
V9     5000.000  0.030 2.174  -6.785 -1.456 -0.080  1.450  8.851
V10    5000.000  0.019 2.145  -8.171 -1.353  0.166  1.511  6.599
V11    5000.000 -2.009 3.112 -13.152 -4.050 -2.043  0.044  9.956
V12    5000.000  1.576 2.907  -8.164 -0.450  1.488  3.563 12.984
V13    5000.000  1.622 2.883 -11.548 -0.126  1.719  3.465 12.620
V14    5000.000 -0.921 1.803  -7.814 -2.111 -0.896  0.272  5.734
V15    5000.000 -2.452 3.387 -15.286 -4.479 -2.417 -0.433 11.673
V16    5000.000 -3.019 4.264 -20.986 -5.648 -2.774 -0.178 13.976
V17    5000.000 -0.104 3.337 -13.418 -2.228  0.047  2.112 19.777
V18    5000.000  1.196 2.586 -12.214 -0.409  0.881  2.604 13.642
V19    5000.000  1.210 3.385 -14.170 -1.026  1.296  3.526 12.428
V20    5000.000  0.138 3.657 -13.720 -2.325  0.193  2.540 13.871
V21    5000.000 -3.664 3.578 -16.341 -5.944 -3.663 -1.330 11.047
V22    5000.000  0.962 1.640  -6.740 -0.048  0.986  2.029  7.505
V23    5000.000 -0.422 4.057 -14.422 -3.163 -0.279  2.426 13.181
V24    5000.000  1.089 3.968 -12.316 -1.623  0.913  3.537 17.806
V25    5000.000  0.061 2.010  -6.770 -1.298  0.077  1.428  6.557
V26    5000.000  1.847 3.400 -11.414 -0.242  1.917  4.156 17.528
V27    5000.000 -0.552 4.403 -13.177 -3.663 -0.872  2.247 17.290
V28    5000.000 -0.868 1.926  -7.933 -2.160 -0.931  0.421  7.416
V29    5000.000 -1.096 2.655  -9.988 -2.861 -1.341  0.522 14.039
V30    5000.000 -0.119 3.023 -12.438 -1.997  0.112  1.946 10.315
V31    5000.000  0.469 3.446 -11.263 -1.822  0.486  2.779 12.559
V32    5000.000  0.233 5.586 -17.244 -3.556 -0.077  3.752 26.539
V33    5000.000 -0.080 3.539 -14.904 -2.348 -0.160  2.099 13.324
V34    5000.000 -0.393 3.166 -14.700 -2.010 -0.172  1.465 12.146
V35    5000.000  2.211 2.948 -12.261  0.322  2.112  4.032 13.489
V36    5000.000  1.595 3.775 -12.736 -0.866  1.703  4.104 17.116
V37    5000.000  0.023 1.785  -5.079 -1.241 -0.110  1.238  6.810
V38    5000.000 -0.406 3.969 -15.335 -2.984 -0.381  2.288 13.065
V39    5000.000  0.939 1.717  -5.451 -0.208  0.959  2.131  7.182
V40    5000.000 -0.932 2.978 -10.076 -2.987 -1.003  1.080  8.698
Target 5000.000  0.056 0.231   0.000  0.000  0.000  0.000  1.000

# Check for class distribution of the target variable by looking at the count of observations for each class
class_distribution = train_data['Target'].value_counts(normalize=True) * 100
print(class_distribution)

Target
0   94.450
1    5.550
Name: proportion, dtype: float64

# Check for class distribution of the target variable by looking at the count of observations for each class
class_distribution = test_data['Target'].value_counts(normalize=True) * 100
print(class_distribution)

Target
0   94.360
1    5.640
Name: proportion, dtype: float64

Observations:

Dataset Size:

- The training set contains 20,000 observations, each with 41 columns (40 predictors and 1 target variable).

- The test set includes 5,000 observations, also with 41 columns.

Data Types:

- Both datasets primarily consist of numerical features (float64), with the target variable being an integer (int64).

Missing Values:

- In the training set, two variables (V1 and V2) have 18 missing values each.

- In the test set, V1 has 5 missing values, and V2 has 6 missing values.

- No missing values are present in the target variable of both datasets.

Data Integrity:

- There are no duplicate rows in either the training or the test dataset, indicating good data integrity.

Class Imbalance: Bot training and testing target variables have imbalanced distribution of the target variables classes where:

- About 94% of the observations belong to the negative class (0), which represents "Non-failure" cases.

- About 5% of the observations belong to the positive class (1), representing "Failure" cases.

# Exploratory Data analysis (EDA)

## Univariate Analysis

def hist_and_boxplot(data, variable, figsize=(12, 4), kde=False, bins=None):
    """
    Creates a plot with both a histogram and boxplot for a specified numerical variable.

    Args:
    - data: The DataFrame containing the data.
    - variable: Column name of the numerical variable (feature) to be plotted.
    - figsize: A tuple representing the size of the figure.
    - density_curve: A boolean indicating whether to overlay a density curve curve on the histogram.
    - bins: An integer representing the number of bins for the histogram, or None for automatic bin size.

    Returns:
    None
    """
    # Set up the matplotlib figure with two rows and one column
    fig, (ax1, ax2) = plt.subplots(2, 1, figsize=figsize, sharex=True, gridspec_kw={'height_ratios': [0.2, 0.8]})

    # Plot the boxplot on the first row
    sns.boxplot(x=variable, data=data, ax=ax1, showmeans=True, color="lightblue")
    ax1.set(xlabel='', title=f'Boxplot and Distribution of {variable}')

    # Plot the histogram on the second row
    if bins:
        sns.histplot(data[variable], kde=kde, bins=bins, ax=ax2, color="lightblue")
    else:
        sns.histplot(data[variable], kde=kde, ax=ax2, color="lightblue")

 # Draw lines for mean and median
    mean_val = data[variable].mean()
    median_val = data[variable].median()
    ax2.axvline(mean_val, color='green', linestyle='--', linewidth=2, label=f'Mean: {mean_val:.2f}')
    ax2.axvline(median_val, color='black', linestyle='-', linewidth=2, label=f'Median: {median_val:.2f}')

    # Add legend to the histogram
    ax2.legend()

    plt.show()

# Looping through the variables in the train dataset and creating a histogram and boxplot for each variable
for variable in train_data.columns:
    hist_and_boxplot(train_data, variable, figsize=(10, 4), kde=False, bins=None)

Observations:

Independent variables:

- The histograms indicate that the data for these variables is approximately normally distributed with mean and median fairly close for most, further suggesting a normal distribution.

- The boxplots show dots outside of the whiskers, which represent outliers. These are observations that fall significantly higher or lower than the majority of the data.

The target variable:

- Highly imbalanced, with a much larger count of the 0 class compared to the 1 class consistnat with the numerical class distribution observation noted earlier.

## Bivariate Analysis

# Heatmap of the correlation coefficients between numerical variables in the dataset
cols_list = train_data.select_dtypes(include=np.number).columns.tolist()

plt.figure(figsize=(18, 12))
sns.heatmap(
    train_data[cols_list].corr(), annot=True, vmin=-1, vmax=1, fmt=".1f", cmap="coolwarm"
)
plt.show()

Observations:

- Highly Correlated Features:lots of them (both positive and negative). These may represent redundancy within the dataset which means that one feature can be predicted from the other with a high degree of accuracy. In other words, these features carry similar information or signals about the data.

  - Multicollinearity in liner models

  - Overfitting the ti the training dataset due to redundant features

  - Redundant features increase computational complexity

  - Consider dimensionality reduction techniques like PCA

- Relationship with Target: features that have a stronger correlation with the target variable (V18, V21). These features may be particularly important for predicting the target and should be examined more closely in subsequent analyses.

# Selected a subset of features for the pair plot for better performance and clarity
selected_features = ['V2', 'V7', 'V18', 'V21', 'V28', 'V40', 'Target']

# Create the pair plot using the selected features
sns.pairplot(train_data[selected_features], hue='Target', diag_kind='kde')
plt.show()

train_df = train_data.copy()
test_df = test_data.copy()

# Data Pre-Processing

# Split train data into X and y to separate the features from the target
X = train_df.drop(["Target"], axis=1)
y = train_df["Target"]

# Split the X training set into train and validate
X_train, X_val, y_train, y_val = train_test_split(
    X, y, test_size=0.25, random_state=42)

# Check the number of rows and columns in the X_train data
X_train.shape

(15000, 40)

# Check the number of rows and columns in the X_val data
X_val.shape

(5000, 40)

# Split test data into X and y to separate the features from the target
X_test = test_df.drop(["Target"], axis=1)
y_test = test_df["Target"]

# Check the number of rows and columns in the X_test data
X_test.shape

(5000, 40)

- X_train and y_train are now the subsets for training the model.

- X_val and y_val are for validating the model during the hyperparameter tuning and model selection process.

- X_test and y_test (from the original test dataset) are used strictly for the final evaluation of the model to assess its performance on unseen data.

### Missing Value Imputation

# Create an instance of the imputer
imputer = SimpleImputer(strategy="median")

# Fit on the training data and transform it
X_train = pd.DataFrame(imputer.fit_transform(X_train), columns=X_train.columns)

# Transform the validation data based on the fit from the training data
X_val = pd.DataFrame(imputer.transform(X_val), columns=X_val.columns)

# Transform the test data based on the fit from the training data
X_test = pd.DataFrame(imputer.transform(X_test), columns=X_test.columns)

# Check that it worked
print(X_train.isna().sum())
print("-"*15)
print(X_val.isna().sum())
print("-"*15)
print(X_test.isna().sum())
print("-"*15)

V1     0
V2     0
V3     0
V4     0
V5     0
V6     0
V7     0
V8     0
V9     0
V10    0
V11    0
V12    0
V13    0
V14    0
V15    0
V16    0
V17    0
V18    0
V19    0
V20    0
V21    0
V22    0
V23    0
V24    0
V25    0
V26    0
V27    0
V28    0
V29    0
V30    0
V31    0
V32    0
V33    0
V34    0
V35    0
V36    0
V37    0
V38    0
V39    0
V40    0
dtype: int64
---------------
V1     0
V2     0
V3     0
V4     0
V5     0
V6     0
V7     0
V8     0
V9     0
V10    0
V11    0
V12    0
V13    0
V14    0
V15    0
V16    0
V17    0
V18    0
V19    0
V20    0
V21    0
V22    0
V23    0
V24    0
V25    0
V26    0
V27    0
V28    0
V29    0
V30    0
V31    0
V32    0
V33    0
V34    0
V35    0
V36    0
V37    0
V38    0
V39    0
V40    0
dtype: int64
---------------
V1     0
V2     0
V3     0
V4     0
V5     0
V6     0
V7     0
V8     0
V9     0
V10    0
V11    0
V12    0
V13    0
V14    0
V15    0
V16    0
V17    0
V18    0
V19    0
V20    0
V21    0
V22    0
V23    0
V24    0
V25    0
V26    0
V27    0
V28    0
V29    0
V30    0
V31    0
V32    0
V33    0
V34    0
V35    0
V36    0
V37    0
V38    0
V39    0
V40    0
dtype: int64
---------------

### Scale/Normalize Features

# Create a scaler instance
scaler = StandardScaler()

# Fit on the training data and transform it
X_train = pd.DataFrame(scaler.fit_transform(X_train), columns=X_train.columns)

# Transform the validation and test data
X_val = pd.DataFrame(scaler.transform(X_val), columns=X_val.columns)

X_test = pd.DataFrame(scaler.transform(X_test), columns=X_test.columns)

# Model Building

# defining a function to compute different metrics to check performance of a classification model built using sklearn
def model_performance_classification_sklearn(model, predictors, target):
    """
    Function to compute different metrics to check classification model performance

    model: classifier
    predictors: independent variables
    target: dependent variable
    """
    TP = confusion_matrix(target, model.predict(predictors))[1,1]
    FP = confusion_matrix(target, model.predict(predictors))[0,1]
    FN = confusion_matrix(target, model.predict(predictors))[1,0]
    
    # predicting using the independent variables
    pred = model.predict(predictors)

    acc = accuracy_score(target, pred)  # to compute Accuracy
    recall = recall_score(target, pred)  # to compute Recall
    precision = precision_score(target, pred)  # to compute Precision
    f1 = f1_score(target, pred)  # to compute F1-score

    # creating a dataframe of metrics
    df_perf = pd.DataFrame(
        {
            "Accuracy": acc,
            "Recall": recall,
            "Precision": precision,
            "F1": f1
            
        },
        index=[0],
    )

    return df_perf

### Defining scorer for cross-validation and hyperparameter tuning

- The goal heare is to reduce FN and maximize "Recall"

- So, use Recall as a scorer

# Defining the scorer based on recall
scorer = metrics.make_scorer(metrics.recall_score)

## Model Building on Original Data

# Models to evaluate
models = []
models.append(("DecisionTree", DecisionTreeClassifier(random_state=1)))
models.append(("RandomForest", RandomForestClassifier(random_state=1)))
models.append(("AdaBoost", AdaBoostClassifier(random_state=1)))
models.append(("GradientBoosting", GradientBoostingClassifier(random_state=1)))
models.append(("BaggingClassifier", BaggingClassifier(random_state=1)))
models.append(("LogisticRegression", LogisticRegression(random_state=1, max_iter=10000)))  # Increased max_iter for convergence

results_original = []  # To store cross-validation results
names_original = []  # To store model names

# Cross-validation across all models for Original Data
print("\nCross-Validation on Original Data:\n")


# StratifiedKFold setup
kfold = StratifiedKFold(n_splits=5, shuffle=True, random_state=1)

# Cross-validation across all models
for name, model in models:
    cv_result = cross_val_score(model, X_train, y_train, scoring=scorer, cv=kfold)
    results_original.append(cv_result)
    names_original.append(name)
    print(f"{name}: Mean Recall Score = {cv_result.mean()}")


print("\nValidation Performance on Original Data:\n")

# Fit models on the original training set and evaluate on the original validation set
for name, model in models:
    model.fit(X_train, y_train)  # Use the training data
    scores = recall_score(y_val, model.predict(X_val))  # Evaluate against the validation set
    print(f"{name}: Validation Recall Score = {scores}")

Cross-Validation on Original Data:

DecisionTree: Mean Recall Score = 0.7297619047619047
RandomForest: Mean Recall Score = 0.7261904761904762
AdaBoost: Mean Recall Score = 0.536904761904762
GradientBoosting: Mean Recall Score = 0.7142857142857142
BaggingClassifier: Mean Recall Score = 0.705952380952381
LogisticRegression: Mean Recall Score = 0.48809523809523814

Validation Performance on Original Data:

DecisionTree: Validation Recall Score = 0.7111111111111111
RandomForest: Validation Recall Score = 0.6962962962962963
AdaBoost: Validation Recall Score = 0.5333333333333333
GradientBoosting: Validation Recall Score = 0.6888888888888889
BaggingClassifier: Validation Recall Score = 0.7222222222222222
LogisticRegression: Validation Recall Score = 0.48148148148148145

# Plotting boxplots for CV scores of all models defined above
fig = plt.figure(figsize=(10, 7))

fig.suptitle("Algorithm Comparison of Models Trained on Original Data")
ax = fig.add_subplot(111)

plt.boxplot(results_original)
ax.set_xticklabels(names_original)

plt.show()

Recall is highest for Random Forest followed by Decision Tree and Gradient Boosting.

## Model Building with Oversampled Data

# Fit Synthetic Minority Over Sampling Technique (SMOTE) on train data, which uses kNN to generate the data
sm = SMOTE(sampling_strategy=1, k_neighbors=5, random_state=1)
X_train_over, y_train_over = sm.fit_resample(X_train, y_train)

print("Before OverSampling, count of label '1': {}".format(sum(y_train == 1)))
print("Before OverSampling, count of label '0': {} \n".format(sum(y_train == 0)))

print("After OverSampling, count of label '1': {}".format(sum(y_train_over == 1)))
print("After OverSampling, count of label '0': {} \n".format(sum(y_train_over == 0)))

print("After OverSampling, the shape of train_X: {}".format(X_train_over.shape))
print("After OverSampling, the shape of train_y: {} \n".format(y_train_over.shape))

Before OverSampling, count of label '1': 840
Before OverSampling, count of label '0': 14160 

After OverSampling, count of label '1': 14160
After OverSampling, count of label '0': 14160 

After OverSampling, the shape of train_X: (28320, 40)
After OverSampling, the shape of train_y: (28320,)

Observations:

SMOTE has successfully balanced your dataset by generating synthetic examples of the minority class (1) using k-nearest neighbors.

Before applying SMOTE: the training dataset was significantly imbalanced with only 833 instances of the minority class (1) compared to 14,167 instances of the majority class (0). This imbalance leads to models that are biased towards the majority class and ignoring the minority class which is of greater interest to us.

After applying SMOTE: both classes now have an equal count of 14,167 instances, doubling the size of the training dataset to 28,334 instances. This balanced dataset is expected to improve model performance on the minority class by providing it with more examples to learn from, thus helping the model to generalize better and be less biased towards the majority class.

# Models to evaluate on Oversampled Data
models = []
models.append(("DecisionTree", DecisionTreeClassifier(random_state=1)))
models.append(("RandomForest", RandomForestClassifier(random_state=1)))
models.append(("AdaBoost", AdaBoostClassifier(random_state=1)))
models.append(("GradientBoosting", GradientBoostingClassifier(random_state=1)))
models.append(("BaggingClassifier", BaggingClassifier(random_state=1)))
models.append(("LogisticRegression", LogisticRegression(random_state=1, max_iter=10000)))  # Increased max_iter for convergence

# To store cross-validation results
results_oversampled = []
# To store model names
names_oversampled= []

# Cross-validation across all models for Oversampled Data
print("\nCross-Validation on Oversampled Data:\n")

# StratifiedKFold setup
kfold_oversampled = StratifiedKFold(n_splits=5, shuffle=True, random_state=1)

# Cross-validation across all models
for name, model in models:
    cv_result_oversampled = cross_val_score(model, X_train_over, y_train_over, scoring=scorer, cv=kfold_oversampled)
    results_oversampled.append(cv_result_oversampled)
    names_oversampled.append(name)
    print(f"{name}: Mean Recall Score = {cv_result_oversampled.mean()}")

print("\nValidation Performance on Oversampled Data:\n")

# Fit models on the oversampled training set and evaluate on the original validation set
for name, model in models:
    model.fit(X_train_over, y_train_over)  # Use the oversampled training data
    scores_oversampled = recall_score(y_val, model.predict(X_val))  # Evaluate against the validation set
    print(f"{name}: Validation Recall Score = {scores_oversampled}")

Cross-Validation on Oversampled Data:

DecisionTree: Mean Recall Score = 0.9719632768361581
RandomForest: Mean Recall Score = 0.984039548022599
AdaBoost: Mean Recall Score = 0.8841101694915254
GradientBoosting: Mean Recall Score = 0.9216807909604519
BaggingClassifier: Mean Recall Score = 0.9750706214689266
LogisticRegression: Mean Recall Score = 0.8748587570621469

Validation Performance on Oversampled Data:

DecisionTree: Validation Recall Score = 0.7814814814814814
RandomForest: Validation Recall Score = 0.8296296296296296
AdaBoost: Validation Recall Score = 0.8444444444444444
GradientBoosting: Validation Recall Score = 0.8814814814814815
BaggingClassifier: Validation Recall Score = 0.8111111111111111
LogisticRegression: Validation Recall Score = 0.8518518518518519

Observations:

As expected, the balancing of the data with SMOTE improved model performance accross the board. However, it also introduced overfitting issues (ratio of Cross-Validation to Validation scores). Except for AdaBoost and Logistic Regression.

# Plotting boxplots for CV scores of all models evaluated on oversampled data
fig = plt.figure(figsize=(10, 7))

fig.suptitle("Algorithm Comparison of Models Trained on Oversampled Data")
ax = fig.add_subplot(111)

plt.boxplot(results_oversampled)
ax.set_xticklabels(names_oversampled)

plt.show()

Observations:

Same trend, jsut more exagerated.

## Model Building with Undersampled Data

# Random undersampler for under sampling the data
rus = RandomUnderSampler(random_state=1, sampling_strategy=1)
X_train_un, y_train_un = rus.fit_resample(X_train, y_train)

print("Before Under Sampling, count of label '1': {}".format(sum(y_train== 1)))
print("Before Under Sampling, count of label '0': {} \n".format(sum(y_train == 0)))

print("After Under Sampling, count of label '1': {}".format(sum(y_train_un == 1)))
print("After Under Sampling, count of label '0': {} \n".format(sum(y_train_un == 0)))

print("After Under Sampling, the shape of train_X: {}".format(X_train_un.shape))
print("After Under Sampling, the shape of train_y: {} \n".format(y_train_un.shape))

Before Under Sampling, count of label '1': 840
Before Under Sampling, count of label '0': 14160 

After Under Sampling, count of label '1': 840
After Under Sampling, count of label '0': 840 

After Under Sampling, the shape of train_X: (1680, 40)
After Under Sampling, the shape of train_y: (1680,)

# Models to evaluate on Undersampled Data
models_undersampled = []
models_undersampled.append(("DecisionTree", DecisionTreeClassifier(random_state=1)))
models_undersampled.append(("RandomForest", RandomForestClassifier(random_state=1)))
models_undersampled.append(("AdaBoost", AdaBoostClassifier(random_state=1)))
models_undersampled.append(("GradientBoosting", GradientBoostingClassifier(random_state=1)))
models_undersampled.append(("BaggingClassifier", BaggingClassifier(random_state=1)))
models_undersampled.append(("LogisticRegression", LogisticRegression(random_state=1, max_iter=10000)))  # Increased max_iter for convergence

# To store cross-validation results for undersampled data
results_undersampled = []
# To store model names for undersampled data
names_undersampled = []

# Cross-validation across all models for Undersampled Data
print("\nCross-Validation on Undersampled Data:\n")

# StratifiedKFold setup for undersampled data
kfold_undersampled = StratifiedKFold(n_splits=5, shuffle=True, random_state=1)

# Cross-validation across all models
for name, model in models_undersampled:
    cv_result_undersampled = cross_val_score(model, X_train_un, y_train_un, scoring=scorer, cv=kfold_undersampled)
    results_undersampled.append(cv_result_undersampled)
    names_undersampled.append(name)
    print(f"{name}: Mean Recall Score = {cv_result_undersampled.mean()}")

print("\nValidation Performance on Undersampled Data:\n")

# Fit models on the undersampled training set and evaluate on the original validation set
for name, model in models_undersampled:
    model.fit(X_train_un, y_train_un)  # Use the undersampled training data
    scores_undersampled = recall_score(y_val, model.predict(X_val))  # Evaluate against the validation set
    print(f"{name}: Validation Recall Score = {scores_undersampled}")

Cross-Validation on Undersampled Data:

DecisionTree: Mean Recall Score = 0.8678571428571427
RandomForest: Mean Recall Score = 0.8988095238095237
AdaBoost: Mean Recall Score = 0.8607142857142858
GradientBoosting: Mean Recall Score = 0.8952380952380953
BaggingClassifier: Mean Recall Score = 0.8738095238095237
LogisticRegression: Mean Recall Score = 0.8547619047619047

Validation Performance on Undersampled Data:

DecisionTree: Validation Recall Score = 0.837037037037037
RandomForest: Validation Recall Score = 0.8777777777777778
AdaBoost: Validation Recall Score = 0.8555555555555555
GradientBoosting: Validation Recall Score = 0.8888888888888888
BaggingClassifier: Validation Recall Score = 0.8481481481481481
LogisticRegression: Validation Recall Score = 0.8555555555555555

# Plotting boxplots for CV scores of all models evaluated on  undersampled data
fig = plt.figure(figsize=(10, 7))

fig.suptitle("Algorithm Comparison of Models Trained on Undersampled Data")
ax = fig.add_subplot(111)

plt.boxplot(results_undersampled)
ax.set_xticklabels(names_undersampled)

plt.show()

Observations:

Fast. Random Forest still highest performace. Less overfitting accross the board.

## Hyperparameter Tuning

### Model Selection for Hyperparameter Tuning

Top 3 models providing the highest Recall scores on both cross-validation and validation datasets :

- RandomForest

- GradientBoosting

- AdaBoost

### Hyperparameter Tuning of Random Forest on Original Data

# Defining the Random Forest model for original data
rf_model_orig = RandomForestClassifier(random_state=1)

# Parameter grid for Random Forest
param_grid_rf_orig = {
    "n_estimators": [200, 250],  # Reduced for simplicity
    "min_samples_leaf": [1, 2],  # Simplified range
    "max_features": ['sqrt'],  # Simplified choice
    "max_samples": [0.5]  # Simplified choice
}

# Setting up RandomizedSearchCV for the original data with reduced n_iter and cv
randomized_rf_orig = RandomizedSearchCV(estimator=rf_model_orig, param_distributions=param_grid_rf_orig,
                                        scoring= scorer, n_iter=10, cv=3, random_state=1)

# Fitting RandomizedSearchCV on the original data
randomized_rf_orig.fit(X_train, y_train)

# Extracting best parameters and creating a new Random Forest Classifier
best_params_rf_orig = randomized_rf_orig.best_params_
tuned_rf_orig = RandomForestClassifier(**best_params_rf_orig, random_state=1)

# Fitting the tuned model and evaluating
tuned_rf_orig.fit(X_train, y_train)

RandomForestClassifier(max_samples=0.5, n_estimators=200, random_state=1)

# Evaluating the tuned model on original data
rf_train_perf_orig = model_performance_classification_sklearn(tuned_rf_orig, X_train, y_train)
print("Performance on Train Set:")
rf_train_perf_orig

Performance on Train Set:

Accuracy  Recall  Precision    F1
0     0.993   0.879      0.999 0.935

rf_val_perf_orig = model_performance_classification_sklearn(tuned_rf_orig, X_val, y_val)
print("Performance on Validation Set:")
rf_val_perf_orig

Performance on Validation Set:

Accuracy  Recall  Precision    F1
0     0.982   0.670      0.989 0.799

### Hyperparameter Tuning of Random Forest on Oversampled Data

# Defining the Random Forest model for original data
rf_model_over = RandomForestClassifier(random_state=1)

# Parameter grid for Random Forest
param_grid_rf_orig = {
    "n_estimators": [200, 250],  # Reduced for simplicity
    "min_samples_leaf": [1, 2],  # Simplified range
    "max_features": ['sqrt'],  # Simplified choice
    "max_samples": [0.5]  # Simplified choice
}

# Setting up RandomizedSearchCV for the original data
randomized_rf_over = RandomizedSearchCV(estimator=rf_model_orig, param_distributions=param_grid_rf_orig,
                                        scoring=scorer, n_iter=50, cv=5, random_state=1)

# Fitting RandomizedSearchCV on the oversampled data
randomized_rf_over.fit(X_train_over, y_train_over)

# Extracting best parameters for oversampled data
best_params_rf_over = randomized_rf_over.best_params_

# Creating a new Random Forest Classifier with the best parameters for oversampled data
tuned_rf_over = RandomForestClassifier(**best_params_rf_over, random_state=1)

# Fitting the tuned model on the oversampled training data
tuned_rf_over.fit(X_train_over, y_train_over)

RandomForestClassifier(max_samples=0.5, n_estimators=250, random_state=1)

# Evaluating the tuned model on oversampled train data
rf_train_perf_over = model_performance_classification_sklearn(tuned_rf_over, X_train_over, y_train_over)
rf_train_perf_over

Accuracy  Recall  Precision    F1
0     0.999   0.998      1.000 0.999

# Evaluating the tuned model on oversampled validation data
rf_val_perf_over = model_performance_classification_sklearn(tuned_rf_over, X_val, y_val)
rf_val_perf_over

Accuracy  Recall  Precision    F1
0     0.988   0.859      0.917 0.887

### Hyperparameter Tuning of Random Forest on Undersampled Data

# Defining the Random Forest model for original data
rf_model_un = RandomForestClassifier(random_state=1)

# Parameter grid for Random Forest
param_grid_rf_orig = {
    "n_estimators": [200, 250],  # Reduced for simplicity
    "min_samples_leaf": [1, 2],  # Simplified range
    "max_features": ['sqrt'],  # Simplified choice
    "max_samples": [0.5]  # Simplified choice
}

# Setting up RandomizedSearchCV for the original data
randomized_rf_un = RandomizedSearchCV(estimator=rf_model_orig, param_distributions=param_grid_rf_orig,
                                        scoring= scorer, n_iter=50, cv=5, random_state=1)

# Fitting RandomizedSearchCV on the undersampled data
randomized_rf_un.fit(X_train_un, y_train_un)

# Extracting best parameters for undersampled data
best_params_rf_un = randomized_rf_un.best_params_
print("Best parameters are {} with CV score={}:" .format(randomized_rf_un.best_params_,randomized_rf_un.best_score_))

Best parameters are {'n_estimators': 250, 'min_samples_leaf': 2, 'max_samples': 0.5, 'max_features': 'sqrt'} with CV score=0.8928571428571429:

# Creating a new Random Forest Classifier with the best parameters for undersampled data
tuned_rf_un = RandomForestClassifier(**best_params_rf_un, random_state=1)

# Fitting the tuned model on the undersampled training data
tuned_rf_un.fit(X_train_un, y_train_un)

RandomForestClassifier(max_samples=0.5, min_samples_leaf=2, n_estimators=250,
                       random_state=1)

# Evaluating the tuned model on undersampled data
rf_train_perf_un = model_performance_classification_sklearn(tuned_rf_un, X_train_un, y_train_un)
rf_train_perf_un

Accuracy  Recall  Precision    F1
0     0.966   0.940      0.991 0.965

rf_val_perf_un = model_performance_classification_sklearn(tuned_rf_un, X_val, y_val)
rf_val_perf_un

Accuracy  Recall  Precision    F1
0     0.935   0.878      0.450 0.595

### Hyperparameter Tuning of Gradient Boost on Original Data

# Defining the Gradient Boosting model
gb_model_orig = GradientBoostingClassifier(random_state=1)

# Parameter grid remains the same as the oversampling case
param_grid_orig = {
    "n_estimators": np.arange(100, 150, 25),
    "learning_rate": [0.2, 0.05, 1],
    "subsample": [0.5, 0.7],
    "max_features": [0.5, 0.7]
}

# Setting up RandomizedSearchCV for the original data
randomized_cv_orig = RandomizedSearchCV(estimator=gb_model_orig, param_distributions=param_grid_orig,
                                        scoring=scorer, n_iter=50, n_jobs=-1, cv=5, random_state=1)

# Fitting RandomizedSearchCV on the original data
randomized_cv_orig.fit(X_train, y_train)

# Best parameters
# print("Best parameters for original data are {} with CV score={}:".format(randomized_cv_orig.best_params_, randomized_cv_orig.best_score_))

# Extracting best parameters for the original data
best_params_orig = randomized_cv_orig.best_params_

# Creating a new Gradient Boosting Classifier with the best parameters for original data
tuned_gbm_orig = GradientBoostingClassifier(
    max_features=best_params_orig['max_features'],
    random_state=1,
    learning_rate=best_params_orig['learning_rate'],
    n_estimators=best_params_orig['n_estimators'],
    subsample=best_params_orig['subsample']
)

# Fitting the tuned model on the original training data
tuned_gbm_orig.fit(X_train, y_train)

GradientBoostingClassifier(learning_rate=0.2, max_features=0.7,
                           n_estimators=np.int64(125), random_state=1,
                           subsample=0.7)

# Checking performance 
gbm_train_perf_orig = model_performance_classification_sklearn(tuned_gbm_orig, X_train_over, y_train_over)
print("Performance on Train Set:")
gbm_train_perf_orig

Performance on Train Set:

Accuracy  Recall  Precision    F1
0     0.912   0.825      1.000 0.904

gbm_val_perf_orig = model_performance_classification_sklearn(tuned_gbm_orig, X_val, y_val)
print("Performance on Validation Set:")
gbm_val_perf_orig

Performance on Validation Set:

Accuracy  Recall  Precision    F1
0     0.979   0.715      0.869 0.785

### Hyperparameter Tuning of Gradient Boost on Oversampled Data

# Defining the Gradient Boosting model for oversampled data
gb_model_over = GradientBoostingClassifier(random_state=1)

# Parameter grid for oversampled data (you can adjust or use the same)
param_grid_over = {
    "n_estimators": np.arange(100, 150, 25),
    "learning_rate": [0.2, 0.05, 1],
    "subsample": [0.5, 0.7],
    "max_features": [0.5, 0.7]
}

# Setting up RandomizedSearchCV for the oversampled data
randomized_cv_over = RandomizedSearchCV(estimator=gb_model_over, param_distributions=param_grid_over,
                                        scoring=scorer, n_iter=50, n_jobs=-1, cv=5, random_state=1)

# Fitting RandomizedSearchCV on the oversampled data
randomized_cv_over.fit(X_train_over, y_train_over)

# Extracting best parameters for the oversampled data
best_params_over = randomized_cv_over.best_params_

# Creating a new Gradient Boosting Classifier with the best parameters for oversampled data
tuned_gbm_over = GradientBoostingClassifier(
    max_features=best_params_over['max_features'],
    random_state=1,
    learning_rate=best_params_over['learning_rate'],
    n_estimators=best_params_over['n_estimators'],
    subsample=best_params_over['subsample']
)

# Fitting the tuned model on the oversampled training data
tuned_gbm_over.fit(X_train_over, y_train_over)

GradientBoostingClassifier(learning_rate=1, max_features=0.5,
                           n_estimators=np.int64(125), random_state=1,
                           subsample=0.7)

# Checking performance 
gbm_train_perf_over = model_performance_classification_sklearn(tuned_gbm_over, X_train_over, y_train_over)
gbm_train_perf_over

Accuracy  Recall  Precision    F1
0     0.993   0.992      0.993 0.993

gbm_val_perf_over = model_performance_classification_sklearn(tuned_gbm_over, X_val, y_val)
gbm_val_perf_over

Accuracy  Recall  Precision    F1
0     0.968   0.867      0.657 0.748

### Hyperparameter Tuning of Gradient Boost on Undersampled Data

# Defining the Gradient Boosting model for undersampled data
gb_model_un = GradientBoostingClassifier(random_state=1)

# Parameter grid for undersampled data (you can adjust or use the same)
param_grid_un = {
    "n_estimators": np.arange(100, 150, 25),
    "learning_rate": [0.2, 0.05, 1],
    "subsample": [0.5, 0.7],
    "max_features": [0.5, 0.7]
}

# Setting up RandomizedSearchCV for the undersampled data
randomized_cv_un = RandomizedSearchCV(estimator=gb_model_un, param_distributions=param_grid_un,
                                      scoring=scorer, n_iter=50, n_jobs=-1, cv=5, random_state=1)

# Fitting RandomizedSearchCV on the undersampled data
randomized_cv_un.fit(X_train_un, y_train_un)

# Extracting best parameters for the undersampled data
best_params_un = randomized_cv_un.best_params_

# Creating a new Gradient Boosting Classifier with the best parameters for undersampled data
tuned_gbm_un = GradientBoostingClassifier(
    max_features=best_params_un['max_features'],
    random_state=1,
    learning_rate=best_params_un['learning_rate'],
    n_estimators=best_params_un['n_estimators'],
    subsample=best_params_un['subsample']
)

# Fitting the tuned model on the undersampled training data
tuned_gbm_un.fit(X_train_un, y_train_un)

GradientBoostingClassifier(learning_rate=0.2, max_features=0.5,
                           n_estimators=np.int64(100), random_state=1,
                           subsample=0.5)

# Checking performance 
gbm_train_perf_un = model_performance_classification_sklearn(tuned_gbm_un, X_train_un, y_train_un)
gbm_train_perf_un

Accuracy  Recall  Precision    F1
0     0.984   0.975      0.993 0.984

gbm_val_perf_un = model_performance_classification_sklearn(tuned_gbm_un, X_val, y_val)
gbm_val_perf_un

Accuracy  Recall  Precision    F1
0     0.909   0.878      0.361 0.511

### Hyperparameter Tuning of AdaBoost on Original Data

# Defining the AdaBoost model for original data
ada_model_orig = AdaBoostClassifier(random_state=1)

# Parameter grid for AdaBoost
param_grid_ada_orig = {
    "n_estimators": [50, 100, 150],
    "learning_rate": [0.01, 0.05],
}


# Setting up RandomizedSearchCV for the original data
randomized_ada_orig = RandomizedSearchCV(estimator=ada_model_orig, param_distributions=param_grid_ada_orig,
                                         scoring= scorer, n_iter=10, cv=5, random_state=1)

# Fitting RandomizedSearchCV on the original data
randomized_ada_orig.fit(X_train, y_train)

# Extracting best parameters
best_params_ada_orig = randomized_ada_orig.best_params_

# Creating a new pipline of AdaBoost Classifier with the best parameters
tuned_ada_orig = AdaBoostClassifier(**best_params_ada_orig, random_state=1)

# Fitting the tuned model on the original training data
tuned_ada_orig.fit(X_train, y_train)

AdaBoostClassifier(learning_rate=0.05, n_estimators=150, random_state=1)

# Evaluating the tuned model
ada_train_perf_orig = model_performance_classification_sklearn(tuned_ada_orig, X_train, y_train)
ada_train_perf_orig

Accuracy  Recall  Precision    F1
0     0.951   0.140      0.915 0.244

ada_val_perf_orig = model_performance_classification_sklearn(tuned_ada_orig, X_val, y_val)
ada_val_perf_orig

Accuracy  Recall  Precision    F1
0     0.952   0.137      0.881 0.237

### Hyperparameter Tuning of AdaBoost on Oversample Data

# Defining the AdaBoost model for oversampled data
ada_model_over = AdaBoostClassifier(random_state=1)

# Parameter grid for AdaBoost
param_grid_ada_over = {
    "n_estimators": [50, 100, 150],
    "learning_rate": [0.01, 0.05],
}
# Setting up RandomizedSearchCV for the oversampled data
randomized_ada_over = RandomizedSearchCV(estimator=ada_model_orig, param_distributions=param_grid_ada_orig,
                                         scoring=scorer, n_iter=10, cv=5, random_state=1)

# Fitting RandomizedSearchCV on the oversampled data
randomized_ada_over.fit(X_train_over, y_train_over)

# Extracting best parameters for the oversampled data
best_params_ada_over = randomized_ada_over.best_params_

# Creating a new AdaBoost Classifier with the best parameters for oversampled data
tuned_ada_over = AdaBoostClassifier(**best_params_ada_over, random_state=1)

# Fitting the tuned model on the oversampled training data
tuned_ada_over.fit(X_train_over, y_train_over)

AdaBoostClassifier(learning_rate=0.01, random_state=1)

print("Best parameters are {} with CV score={}:" .format(randomized_ada_over.best_params_,randomized_ada_over.best_score_))

Best parameters are {'n_estimators': 50, 'learning_rate': 0.01} with CV score=0.8516949152542374:

# Evaluating the tuned model on oversampled data
ada_train_perf_over = model_performance_classification_sklearn(tuned_ada_over, X_train_over, y_train_over)
ada_train_perf_over

Accuracy  Recall  Precision    F1
0     0.759   0.864      0.714 0.782

ada_val_perf_over = model_performance_classification_sklearn(tuned_ada_over, X_val, y_val)
ada_val_perf_over

Accuracy  Recall  Precision    F1
0     0.664   0.804      0.118 0.205

### Hyperparameter Tuning of AdaBoost on Undersampled Data

# Defining the AdaBoost model for oversampled data
ada_model_un = AdaBoostClassifier(random_state=1)

# Parameter grid for AdaBoost
param_grid_ada_un = {
    "n_estimators": [50, 100, 150],
    "learning_rate": [0.01, 0.05],
}
# Setting up RandomizedSearchCV for the undersampled data
randomized_ada_un = RandomizedSearchCV(estimator=ada_model_orig, param_distributions=param_grid_ada_orig,
                                       scoring=scorer, n_iter=10, cv=5, random_state=1)

# Fitting RandomizedSearchCV on the undersampled data
randomized_ada_un.fit(X_train_un, y_train_un)

# Extracting best parameters for the undersampled data
best_params_ada_un = randomized_ada_un.best_params_

# Creating a new AdaBoost Classifier with the best parameters for undersampled data
tuned_ada_un = AdaBoostClassifier(**best_params_ada_un, random_state=1)

# Fitting the tuned model on the undersampled training data
tuned_ada_un.fit(X_train_un, y_train_un)

AdaBoostClassifier(learning_rate=0.05, n_estimators=150, random_state=1)

# Evaluating the tuned model on undersampled data
ada_train_perf_un = model_performance_classification_sklearn(tuned_ada_un, X_train_un, y_train_un)
ada_train_perf_un

Accuracy  Recall  Precision    F1
0     0.854   0.781      0.915 0.843

ada_val_perf_un = model_performance_classification_sklearn(tuned_ada_un, X_val, y_val)
ada_val_perf_un

Accuracy  Recall  Precision    F1
0     0.898   0.733      0.312 0.438

# Model Performance Comparison

# Training performance comparison

models_train_comp_df = pd.concat(
    [
        rf_train_perf_orig.T,
        gbm_train_perf_orig.T,
        ada_train_perf_orig.T,
        
        rf_train_perf_over.T,
        gbm_train_perf_over.T,
        ada_train_perf_over.T,

        rf_train_perf_un.T,  
        gbm_train_perf_un.T,
        ada_train_perf_un.T,
    
    ],
    axis=1,
)
models_train_comp_df.columns = [
       'rf_train_perf_orig',
       'gbm_train_perf_orig',
       'ada_train_perf_orig',
    
       'rf_train_perf_over',
       'gbm_train_perf_over',
       'ada_train_perf_over',
     
       'rf_train_perf_un',
       'gbm_train_perf_un',
       'ada_train_perf_un',
]
print("Training performance comparison:")
models_train_comp_df

Training performance comparison:

rf_train_perf_orig  gbm_train_perf_orig  ada_train_perf_orig  \
Accuracy                0.993                0.912                0.951   
Recall                  0.879                0.825                0.140   
Precision               0.999                1.000                0.915   
F1                      0.935                0.904                0.244   

           rf_train_perf_over  gbm_train_perf_over  ada_train_perf_over  \
Accuracy                0.999                0.993                0.759   
Recall                  0.998                0.992                0.864   
Precision               1.000                0.993                0.714   
F1                      0.999                0.993                0.782   

           rf_train_perf_un  gbm_train_perf_un  ada_train_perf_un  
Accuracy              0.966              0.984              0.854  
Recall                0.940              0.975              0.781  
Precision             0.991              0.993              0.915  
F1                    0.965              0.984              0.843

# Validation performance comparison

models_val_comp_df = pd.concat(
    [
        rf_val_perf_orig.T,
        gbm_val_perf_orig.T,
        ada_val_perf_orig.T,
        
        rf_val_perf_over.T,
        gbm_val_perf_over.T,
        ada_val_perf_over.T,

        rf_val_perf_un.T,  
        gbm_val_perf_un.T,
        ada_val_perf_un.T,
    ],
    axis=1,
)
models_val_comp_df.columns = [
       'rf_val_perf_orig',
       'gbm_val_perf_orig',
       'ada_val_perf_orig',
    
       'rf_val_perf_over',
       'gbm_val_perf_over',
       'ada_val_perf_over',
     
       'rf_val_perf_un',
       'gbm_val_perf_un',
       'ada_val_perf_un',
]
print("Validation performance comparison:")
models_val_comp_df

Validation performance comparison:

rf_val_perf_orig  gbm_val_perf_orig  ada_val_perf_orig  \
Accuracy              0.982              0.979              0.952   
Recall                0.670              0.715              0.137   
Precision             0.989              0.869              0.881   
F1                    0.799              0.785              0.237   

           rf_val_perf_over  gbm_val_perf_over  ada_val_perf_over  \
Accuracy              0.988              0.968              0.664   
Recall                0.859              0.867              0.804   
Precision             0.917              0.657              0.118   
F1                    0.887              0.748              0.205   

           rf_val_perf_un  gbm_val_perf_un  ada_val_perf_un  
Accuracy            0.935            0.909            0.898  
Recall              0.878            0.878            0.733  
Precision           0.450            0.361            0.312  
F1                  0.595            0.511            0.438

print("Training performance comparison:")
models_train_comp_df

Training performance comparison:

rf_train_perf_orig  gbm_train_perf_orig  ada_train_perf_orig  \
Accuracy                0.993                0.912                0.951   
Recall                  0.879                0.825                0.140   
Precision               0.999                1.000                0.915   
F1                      0.935                0.904                0.244   

           rf_train_perf_over  gbm_train_perf_over  ada_train_perf_over  \
Accuracy                0.999                0.993                0.759   
Recall                  0.998                0.992                0.864   
Precision               1.000                0.993                0.714   
F1                      0.999                0.993                0.782   

           rf_train_perf_un  gbm_train_perf_un  ada_train_perf_un  
Accuracy              0.966              0.984              0.854  
Recall                0.940              0.975              0.781  
Precision             0.991              0.993              0.915  
F1                    0.965              0.984              0.843

print("Validation performance comparison:")
models_val_comp_df

Validation performance comparison:

rf_val_perf_orig  gbm_val_perf_orig  ada_val_perf_orig  \
Accuracy              0.982              0.979              0.952   
Recall                0.670              0.715              0.137   
Precision             0.989              0.869              0.881   
F1                    0.799              0.785              0.237   

           rf_val_perf_over  gbm_val_perf_over  ada_val_perf_over  \
Accuracy              0.988              0.968              0.664   
Recall                0.859              0.867              0.804   
Precision             0.917              0.657              0.118   
F1                    0.887              0.748              0.205   

           rf_val_perf_un  gbm_val_perf_un  ada_val_perf_un  
Accuracy            0.935            0.909            0.898  
Recall              0.878            0.878            0.733  
Precision           0.450            0.361            0.312  
F1                  0.595            0.511            0.438

AdaBoost on oversampled data emerges as a strong candidate for the final model due to its excellent performance across accuracy, recall, precision, and F1 score in the validation set.

# Final Model Selection

# Check the performance of the final model on the test data
ada_test = model_performance_classification_sklearn(tuned_ada_over, X_test, y_test)
ada_test

Accuracy  Recall  Precision    F1
0     0.675   0.840      0.131 0.226

feature_names = X_train.columns
importances = tuned_ada_over.feature_importances_
indices = np.argsort(importances)

plt.figure(figsize=(10, 10))
plt.title("Feature Importances")
plt.barh(range(len(indices)), importances[indices], color="violet", align="center")
plt.yticks(range(len(indices)), [feature_names[i] for i in indices])
plt.xlabel("Relative Importance")
plt.show()

## Pipelines to build the final model

Since we have only one datatype in the data we don't need to use column transofrmer which can be used to personalize the pipeline to perform different preprocessing steps on different columns. Note: see case study how to use this.

The steps followed in implementing a pipeline are -

- Pipeline() - A pipeline is defined as a list of tuples

- Pipeline.fit() - Pipeline is fitted on the train set

- Pipeline.score() - Pipeline objects checks the performance.

pipe = Pipeline(
    steps=[
        ("imputer", SimpleImputer(strategy="median")),
        ("scaler", StandardScaler()),
        ("AdaBoost", AdaBoostClassifier
         (
               n_estimators= 50, 
               learning_rate= 0.05,
            ),
        ),
    ]
)

# Check pipline steps 
pipe.steps

[('imputer', SimpleImputer(strategy='median')),
 ('scaler', StandardScaler()),
 ('AdaBoost', AdaBoostClassifier(learning_rate=0.05))]

# Fit the pipeline on training data as if it were a model since the model is included in it
pipe.fit(X_train, y_train)
# See pipeline structure below

Pipeline(steps=[('imputer', SimpleImputer(strategy='median')),
                ('scaler', StandardScaler()),
                ('AdaBoost', AdaBoostClassifier(learning_rate=0.05))])

The above means a model is built which becomes part of pipe

# pipe object's accuracy on the train set
pipe.score(X_train, y_train)

0.944

Instead of model.score calling pipe.score fucntion does a predict then uses those results with the actual results to give the score.

# pipe object's accuracy on the test set
pipe.score(X_test, y_test)

0.9436

The data called by pipe.score() undergoes transformation process in the first two steps (imputer and scaler) and the predict unction in the 3rd step ("AdaBoost").

Questions I still have:

- Am I suppose to fit the pipeline into the X_train, y_train or X and y?

- What about X_train_over, y_train_over?

- Is SMOTE incorporated into the pipeline?

# Business Insights and Conclusions

Features V18, V39, and V12 have significant influence on the model's predictions.

The company can focus on further analyzing these important features to better understand their underlying relationships with the target variable.